## Suppl Table 2
Supplemental Table S2: Master table summarizing all test results for the entire panel of samples. The samples newly added to the GeT-RM panel are highlighted in bold in Column A, and also indicated in Column B. The consensus genotype for each sample from the two previous GeT-RM studies and from the current study are shown in Columns C and D respectively. Column E: Test results include those obtained by genotyping (TaqMan combined with CNV and XL-PCR testing, Columns F and G: Results from PharmacoScan (using the current commercial software version and a custom version, respectively), Columns H and I: iPLEX V1.1 and CYP2D6 V1.1 supplemented with a custom panel and VeriDose CNV detection, Column J: sequencing results (ASXL-PCR indicates that the allele was tested by sequencing an allele-specific long-range amplicon). The genotype calls as displayed do not include suballele designations although some calling algorithms may distinguish among certain suballeles. Column K provides PharmVar designations for alleles that have been entirely sequenced; corresponding unique PharmVar-IDs (PVIDs) are provided in brackets, samples for which a heterozygous XL-PCR fragment was sequenced are marked with ‡. The SNPs identified in each sample match the allele designations shown in Column K. Columns L-N list TaqMan CNV results obtained by the Medical College of Wisconsin (MCW) group targeting three gene regions, Columns O and P list TaqMan CNV results for two gene regions obtained by ARUP, Columns Q-T and U-W list those obtained by the Children’s Mercy Kansas City (CM) group using their quantitative multiplex PCR amplification (MPA) method and droplet digital PCR, respectively. MPA calls in brackets denote that results were of low confidence; all such calls were confirmed by ddPCR. Empty cells in Columns L-W denote that samples have not been tested.
Alleles detected by each assay
|  |  |  | *2, *2, *3, *4, *6, *7, *8, *9, *10, *11, *12, *14A, *14B, *15, *17, *29, *30, *31, *35, *40 or *58, *41, *42, *44, *45 or *46, *49, *56A, *56B, *59, *99, *100, *101 CNVs included *5, any xN, CYP2D6-2D7 and CYP2D7-2D6 hybrids | *1, *2, *3, *4, *5, *6, *7, *8, *9, *10, *11, *12, *14A, *14B, *15, *17, *18, *19, *20, *21, *29, *38, *40, *41, *42, *44, *56A, *56B, *64 CNVs included copy number loss (*5; 0, 1), copy number gain (≥ 3) and CYP2D6-2D7 and CYP2D7-2D6 hybrids (CN_HybridGain and CN_HybridLoss) | *1, *2, *3A, *3B, *4, *5, *6, *7, *8, *9, *10, *11, *12, *14A, *14B, *15, *17, *18, *19, *20, *22, *23, *25, *28, *29, *31, *33, *35, *37, *38, *40, *41, *42, *43, *44, *45, *46, *47, *48, *49, *51, *53, *54, *55, *56A, *56B, *59, *62, *71, *72, *73, *75, *81, *82,*84, *85, *86, *88, *89, *95, *100, *101, *102, *103, *107, *109 CNVs included copy number loss (0, 1), copy number gain (≥ 3) and CYP2D6-2D7 and CYP2D7-2D6 hybrids (CN_HybridGain and CN_HybridLoss) | *1, *2, *2A, *2D, *2L, *2M, *3, *4, *5, *6, *7, *8, *9, *10, *11, *12, *14A, *14B, *15, *17, *18, *19, *20, *21A, *21B, *27, *29, *34, *35, *36, *38, *39, *40, *41, *42, *44, *45A, *56A, *56B, *57, *63, *64, *65, *69, *70, *82, *83, *84 CNVs | CYP2D6 v1.1 PLUS *11A, *11B, *13 (2D7-2D6 hybrid), *28, *33, *43, *46, *47, *59, *68, *108 CNVs determined by the VeriDose
Coriell ID | Previous study† | Consensus genotype previous study | Consensus genotype this study | TaqMan+CNVs+XL-PCR | PharmacoScan v.r6 | PharmacoScan custom v.r6+20180103 | iPLEX CYP2D6 V1.1 | iPLEX CYP2D6 V1.1+ custom panel and VeriDose | Sequencing Sanger, NGS or SMRT | PharmVar labels and PV-IDs of sequenced allele(s) | TaqMan CNV (MCW) intron2 | TaqMan CNV (MCW) intron6 | TaqMan CNV (MCW) exon9 | TaqMan CNV (ARUP) intron6 | TaqMan CNV (ARUP) exon9 | MPA CNV (CM) exon1 | MPA CNV (CM) intron5 | MPA CNV (CM) intron6 | MPA CNV (CM) exon9 | ddPCR CNV (CM) 5' UTR | ddPCR CNV (CM) intron 6 | ddPCR CNV (CM) exon 9
HG00111 | new | n/a | *3/*3 | *3/*3 | *3/*3 | *3/*3 | *3/*3 | *3/*3 | n/a | [6 empty] | [2] | 2 |  | 2 | 2 | 2 | 2
HG00156 | new | n/a | *5/*5 | *5/*5 | *5/*5 | *5/*5 | *5/*5 | *5/*5 | n/a | [6 empty] | 0 | 0 | 0 | 0
HG00276 | PGx2 | *4/*5 | *4/*5 | n/a | *4/*5 | *4/*5 | *4/*5 | n/a | n/a
HG00337 | new | n/a | *2x2/*22 | *2x2 | *1/*2, CN_Gain | *2/*22, CN_Gain | 3N, *1/*2x2 | n/a | *22 (ASXL-PCR) Sanger; NGS | *22.001 (PV00135) | 3 | 3 | 3 |  |  | [2] | 3 | 3 | 3 | 3
HG00373 | new | n/a | *2/*2 | *2/*59 | *2/*59 | *2/*59 | *2/*2 | *2/*59 | *2 and *2 (XL-PCR) Sanger and SMRT. | *2.012 (PV00390); *2.013 (PV00389) | [5 empty] | 2 | 2 |  | 2 | 2 | 2 | 2
HG00421 | new | n/a | *2/*10x2 | *2/*10x2 | *2/*10, CN_HybridGain | *2/*10, CN_HybridGain | *2/*10 or *39/*65 | *2/*10 | n/a | [6 empty] | 3 | 3 | 3 | 3 | 3 | 3 | 3
HG00423 | new | n/a | *10/*10x2 | *10x2/*10 | *10/*10, CN_HybridGain | *10/*10, CN_HybridGain | *10/*10 | 3N+, *10/*10 | n/a | [6 empty] | 3 | 3 | 3 | 3 | 3 | 3 | 3
HG00436 | PGx2 | *1/*2 xN | *2x2/*71 | *2x2 | *1/*2, CN_Gain | *2/*71, CN_Gain | 3N, *1/*2 | n/a | *71 (ASXL-PCR) Sanger | *71.002 (PV00401) | 3 | 3 | 3 | 3 | 3 | [2] | [2] | 3 | 3 | 3 | 3 | 3
HG00463 | new | n/a | *36+*10/*36+*10 | *36+*10/*36+*10 | *10/*10, CN_HybridGain | *10/*10, CN_HybridGain | 3N,*10/*36 | 3N+, *10/*10+*36 hybrid | n/a | [6 empty] | 4 | 4 | 4 | 2 | 4 | 4 | 2
HG00589 | PGx2 | *1/*2 (*21) | *1/*21 | *1/*21 | *1/*2 | *1/*2 | *1/*21 | *1/*21 | *21 (ASXL-PCR) Sanger | *21.002 (PV00199) | [5 empty] | 2 | 2 | 2 | 2 | 2 | 2 | 2
HG01086 | new | n/a | *1/*31 | *1/*31 | *1/*2 | *1/*31 | *1/*2 | n/a | *31 (ASXL-PCR) Sanger; NGS | *31.001 (PV00142) | 2 | 2 | 2 |  |  | [2] | 2 | 2 | 2 | 2 | 2 | 2
HG01094 | new | n/a | *1/*31 | *1/*31 | *1/*2 | *1/*31 | *1/*2 | n/a | *31 (ASXL-PCR) Sanger; NGS | *31.001 (PV00142) | 2 | 2 | 2 |  |  | 2 | 2 | 2 | 2
HG01108 | new | n/a | *2/*106 | *2 | *1/*2 | *1/*2 | *1/*2 | n/a | NGS |  | 2 | 2 | 2 |  |  | 2 | 2 | 2 | 2
HG01190 | PGx2 | *4/*5 | *68+*4/*5 | *68+*4/*5 | CN_HybridLoss | CN_HybridLoss | *4/*5 | *68+*4/*5 | n/a | [6 empty] | 2 | 1 | 1 | 1
HG01680 | new | n/a | *28/*59 | *2/*59 | *2/*59 | *28/*59 | *2/*2 | *28/*59 | *28/*59 (XL-PCR) Sanger | *28.001/*59.001‡ (PV00133/PV00176) | [5 empty] | 2 | 2 |  | 2 | 2 | 2 | 2
HG02373 | new | n/a | *14/*36+*10 | *14B/*36+*10 | *1/*14 or *10/*14, CN_HybridGain | *1/*14,*10/*14, CN_HybridGain | *14/*36 | 3N+, *14/*10B+*36 hybrid | *14 (ASXL-PCR) Sanger | *14.001 (PV00138) | [5 empty] | 3 | 3 |  | 2 | 3 | 3 | 2
HG03225 | new | n/a | *5/*56 | *5/*56 | *5/*56 | *5/*56 | *56/*5 | *5/*56 | *56 (ASXL-PCR) Sanger | *56.003 (PV00391) | [5 empty] | 1 | 1 |  | 1
HG03246 | new | n/a | *5/*43 | *5/*43 | *1/*5 | *5/*43 | *1/*5 | *5/*43 | *43 (ASXL-PCR) Sanger | *43.002 (PV00395) | [5 empty] | 1 | 1 |  | 1
HG03259 | new | n/a | *5/*106 | *1/*5 | *1/*5 | *1/*5 | *1/*5 | n/a | *106 (ASXL-PCR); NGS | *106.001 (PV00260) | 1 | 1 | 1 |  |  | 1 | 1 | 1 | 1
HG03619 | new | n/a | *2/*113 | *2 | *1/*2 | *1/*2 | *1/*2 | n/a | *113 (ASXL-PCR) Sanger; NGS | *113.001 (PV00191) | 2 | 2 | 2 |  |  | [2] | 2 | 2 | 2 | 2 | 2 | 2
HG03643 | new | n/a | *2/*7 | *2/*7 | *2/*7 | *2/*7 | *2/*7 | *2/*7 | *7 (ASXL-PCR) Sanger | *7.001 (PV00155) | [5 empty] | 2 | 2 |  | 2 | 2 | 2 | 2
HG03703 | new | n/a | *1/*99 | *1/*99 | *1/*10 | *1/*10 | *1/*10 | n/a | NGS |  | 2 | 2 | 2 |  |  | 2 | 2 | 2 | 2 | 2
HG03780 | new | n/a | *1/*112 | *1/*1 | *1/*1 | *1/*1 | *1/*1 | n/a | *112 (ASXL-PCR) Sanger; NGS | *112.001 (PV00192) | 2 | 2 | 2 |  |  | 2 | 2 | 2 | 2
HG03781 | new | n/a | *2/*99 | *2/*99 | *2/*10 | *2/*10 | *2/*10 | n/a | *2 and *99 (ASXL-PCR) Sanger; NGS | *2.001 (PV00129); *99.001 (PV00122) | 2 | 2 | 2 |  |  | 1 | [2] | 2 | [2] | 2 | 2 | 2
HG03882 | new | n/a | *1/*112 | *1/*1 | *1/*1 | *1/*1 | *1/*1 | n/a | NGS |  | 2 | 2 | 2 |  |  | 2 | 2 | 2 | 2
HG04206 | new | n/a | *2/*113 | *2 | *1/*2 | *1/*2 | *1/*2 | n/a | NGS |  | 2 | 2 | 2 |  |  | 2 | 2 | 2 | 2
NA06989 | new | n/a | *9/*9 | *9/*9 | *9/*9 | *9/*9 | *9/*9 | *9/*9 | n/a | [6 empty] | 2 | 2 | 2 | 2
NA06991 | PGx2 | *1/*4 | *1/*4 | n/a | *1/*4 | *1/*4 | *1/*4 | n/a | n/a |  | 2 | 2 | 2
NA07000 | PGx2 | *9/*2 (*35) | *2 (*35)/*9 | n/a | n/a | n/a | *9/*35 | n/a | n/a
NA07019 | PGx2 | *1/*4 | *1/*4 | n/a | *1/*4 | *1/*4 | *1/*4 | n/a | n/a |  | 2 | 2 | 2
NA07029 | PGx2 | *1/*35 | *1/*35 | n/a | *1/*2 | *1/*35 | *1/*35 | n/a | n/a |  | 2 | 2 | 2
NA07048 | PGx2 | *1/*4 | *1/*4 | n/a | n/a | n/a | *1/*4 | n/a | n/a
NA07055 | PGx2 | *4/*4 | *4/*4 | n/a | *4/*4 | *4/*4 | *4/*4 | n/a | n/a |  | 2 | 2 | 2
NA07056 | PGx2 | *2/*4 | *2/*4 | n/a | *2/*4 | *2/*4 | *2/*4 | n/a | n/a |  | 2 | 2 | 2
NA07348 | PGx2 | *1/*6 | *1/*6 | *1/*6 | *1/*6 | *1/*6 | *1/*6 | n/a | n/a |  | 2 | 2 | 2 |  |  | 2 | 2 | 2 | 2
NA07357 | PGx2 | *1/*6 | *1/*6 | *1/*6 | *1/*6 | *1/*6 | *1/*6 | n/a | n/a |  | 2 | 2 | 2 |  |  | 2 | 2 | 2 | 2
NA07439 | PGx2 | *4/*41 xN | *4x2/*41 | *4x2/*41 | *1/UNK,*2/UNK,*4/UNK,*10/UNK,*12/UNK,*41/UNK,UNK/UNK, CN_Gain | *4/*41, CN_HybridGain | *4/*41 | n/a | *41 (ASXL-PCR) Sanger | *41.003 (PV00396) | 3 | 3 | 3 | 3 | 3 | 3 | 3 | 3 | 3
NA10831 | PGx2 | *4/*5 | *4/*5 | *4/*5 | *4/*5 | *4/*5 | *4/*5 | n/a | n/a |  | 1 | 1 | 1 |  |  | 1 | 1 | 1 | 1 | 1 | 1 | 1
NA10838 | PGx2 | *2/*4 | *2/*4 | *2/*4 | n/a | n/a | *2/*4 | n/a | n/a | [6 empty] | 2 | 2 | 2 | 2
NA10846 | PGx2 | *1/*4 | *1/*4 | n/a | n/a | n/a | *1/*4 | n/a | n/a
NA10847 | PGx2 | *1/*41 | *1/*41 | n/a | *1/*41 | *1/*41 | *1/*41 | n/a | n/a |  | 2 | 2 | 2
NA10851 | PGx2 | *1/*4 | *1/*4 | n/a | *1/*4 | *1/*4 | *1/*4 | n/a | n/a |  | 2 | 2 | 2
NA10854 | PGx2 | *1/*4 | *1/*4 | *1/*4 | *1/*4 | *1/*4 | *1/*4 | n/a | n/a |  | 2 | 2 | 2 |  |  | 2 | [1] | 2 | [1] | 2 | 2 | 2
NA10855 | PGx2 | *1/*4 | *1/(*68)+*4 | n/a | n/a | n/a | *1/*4 | *1/*68+*4 | n/a
NA10856 | PGx2 | *1/*5 | *1/*5 | n/a | n/a | n/a | *1/*5 | n/a | n/a
NA10859 | PGx2 | *1/*2 | *1/*2 | n/a | n/a | n/a | *1/*2 | n/a | n/a
NA10860 | new | n/a | *1/*4N+*4 | *1/*4N+*4 | *1/*4, CN_HybridGain | *1/*4, CN_HybridGain | *4J/*83 | *1/*4N+*4 | n/a | [6 empty] | 3 | 3 | 3 | 2 | 3 | 3 | 2
NA10865 | PGx2 | *1/*41 | *1/*41 | *1/*41 | n/a | n/a | *1/*41 | n/a | n/a | [6 empty] | 2 | 2 | 2 | 2
NA11832 | PGx2 | *1/*4 | *1/(*68)+*4 | n/a | *1/*4, CN_HyridGain | *1/*4, CN_HyridGain | *1/*4 | *1/*68+*4 | n/a |  | 2 | 2 | 2
NA11839 | PGx2 | *1/*2 | *1/*2 | n/a | *1/*2 | *1/*2 | *1/*2 | n/a | n/a |  | 2 | 2 | 2
NA11881 | PGx2 | *2/*3 | *2/*3 | n/a | n/a | n/a | *2/*3 | n/a | n/a
NA11993 | PGx2 | *1/*9 | *1/*9 | n/a | *1/*9 | *1/*9 | *1/*9 | n/a | n/a |  | 2 | 2 | 2
NA12003 | PGx2 | *4/*35 | *4/*35 | *4/*35 | *2/*4 | *4/*35 | *4/*35 | n/a | n/a |  | 2 | 2 | 2 |  |  | 2 | 2 | 2 | 2
NA12006 | PGx2 | *4/*41 | *4/*41 | n/a | *4/*41 | *4/*41 | *4/*41 | n/a | n/a |  | 2 | 2 | 2
NA12145 | PGx2 | *1/*4 | *1/*4 | n/a | *1/*4 | *1/*4 | *1/*4 | n/a | n/a |  | 2 | 2 | 2
NA12154 | new | n/a | (*68)+*4/*33 | *1/*68+*4 | *1/*4;*10/UNK, CN_HybridGain | *4/*33, CN_HybridGain | *1/*4 | *4/*33 | *33 (ASXL-PCR) Sanger | *33.001 (PV00227) | [5 empty] | 3 | 2 |  | 2 | 3 |  | 2
NA12156 | PGx2 | *1/*4 | *1/*4 | *1/*4 | *1/*4 | *1/*4 | *1/*4 | n/a | n/a |  | 2 | 2 | 2 |  |  | 2 | 2 | 2 | 2
NA12236 | PGx2 | *1/*4 | *1/*4 | n/a | *1/*4 | *1/*4 | *1/*4 | n/a | n/a |  | 2 | 2 | 2
NA12336 | PGx2 | *5/*41 | *5/*41 | *5/*41 | n/a | n/a | *5/*41 | n/a | n/a | [6 empty] | 1 | 1 | 1 | 1
NA12375 | PGx2 | *1/*1 | *1/*1 | n/a | n/a | n/a | *1/*1 | n/a | n/a
NA12717 | PGx2 | *1/*1 | *1/*1 | n/a | *1/*1 | *1/*1 | *1/*1 | n/a | n/a |  | 2 | 2 | 2
NA12753 | PGx2 | *2/*3 | *2/*3 | n/a | n/a | n/a | *2/*3 | n/a | n/a
NA12813 | PGx2 | *2/*4 | *2/*4 | *2/*4 | *2/*4 | *2/*4 | *2/*4 | n/a | n/a |  | 2 | 2 | 2 |  |  | 2 | 2 | 2 | 2
NA12815 | PGx2 | *2/*41 | *2/*41 | n/a | n/a | n/a | *2/*41 | n/a | n/a
NA12873 | PGx2 | *1/*5 | *1/*5 | n/a | *1/*5 | *1/*5 | *1/*5 | n/a | n/a |  | 1 | 1 | 1
NA12878 | PGx2 | *3/*4 | *3/(*68)+*4 | *3/*68+*4 | *3/*4 | *3/*4 | *3/*4 | n/a | *3/*4 (XL-PCR) Sanger (partial) | n/a | 2 | 2 | 2 |  |  | 3 | 2 | 2 | 2
NA12892 | PGx2 | *2/*3 | *2/*3 | *2/*3 | n/a | n/a | *2/*3 | n/a | n/a | [6 empty] | 2 | 2 | 2 | 2
NA15245 | PGx2 | *4/*4 xN | *4x2/*4 | *4x2/*4 | *4/*4, CN_HybridGain | *4/*4, CN_HybridGain | *4/*4 | n/a | n/a |  | 3 | 3 | 3 | 3 | 3 | 3 | 3 | 3 | 3
NA17061 | PGx2 | *1/*2 | *1/*2 | n/a | n/a | n/a | *1/*2 | n/a | n/a
NA17074 | PGx2 | *1/*2 | *1/*2 | n/a | *1/*2 | *1/*2 | *1/*2 | n/a | n/a |  | 2 | 2 | 2
NA17102 | PGx2 | *1/*17 (*40) | *1/*40 | *1/*40 | n/a | n/a | *1/*40 | n/a | n/a |  |  |  |  | 2 | 2 | 2 | 2 | 2 | 2
NA17113 | new | n/a | *17x2/*45 | *17x2/*45 | *2/*17, CN_HybridGain | *17/*45, CN_HybridGain | 3N, *2/*17 | 3N+, *17/*45 | n/a |  |  |  |  | 3 | 3 | 3 | 3 | 3 | 3
NA17128 | new | n/a | *1/*43 | *1/*43 | *1/*43 | *1/*43 | *1/*1 | *1/*43 | *1 and *43 (XL-PCR) Sanger | *1.006/*43.002‡ (PV00412/PV00395) | [5 empty] | 2 | 2 | 2 | 2
NA17137 | new | n/a | *29/*45 | *29/*45 | *2/*29 | *29/*45 | *2/*29 | *29/*45 | *45 (ASXL-PCR) Sanger | *45.002 (PV00201) |  |  |  | 2 | 2 | 2 | 2 | 2 | 2
NA17169 | new | n/a | *17/*56 | *17/*56 | *17/*56, *56/*64 | *17/*56 | *17/*56 or *56/*64 | *17/*56 | *56 (ASXL-PCR) Sanger | *56.003 (PV00391) | [5 empty] | 2 | 2 |  | 2
NA17176 | new | n/a | *3/*45 | *3/*45 | *2/*3 | *3/*45 | *2/*3 | *3/*45 | *45 (ASXL-PCR) Sanger | *45.002 (PV00201) | [5 empty] | 2 | 2 | 2 | 2
NA17185 | new | n/a | *4/*58 | *4/*40 | *4/*17 | *4/*17 | *4/*40 | *4/*40 | *58 (cloned XL-PCR) Sanger (resequenced today) | *58.001 (PV00181) | [5 empty] | 2 | 2 |  | 2
NA17204 | PGx2 | *1/*35 | *1/*35 | *1/*35 | *1/*2 | *1/*35 | *1/*35 | n/a | n/a |  | 2 | 2 | 2 |  |  | 2 | 2 | 2 | 2
NA17222 | PGx1 | *1/*2 | *2/*108 | *2 | *1/*2 | *1/*2 | *1/*2 or *34/*39 | *2/*108 | *2 and *108 SMRT | *108.001 (PV00211) | [5 empty] | 2 | 2 | 2 | 2
NA17227 | PGx2 | *1/*9 | *1/*9 | *1/*9 | *1/*9 | *1/*9 | *1/*9 | n/a | n/a |  | 2 | 2 | 2 |  |  | 2 | 2 |  | 2 | 2 | 2 | 2
NA17234 | PGx2 | *1/*41 | *1/*41 | *1/*41 | *1/*41 | *1/*41 | *1/*41 | n/a | n/a |  | 2 | 2 | 2 |  |  | 2 | 2 |  | 2
NA17235 | PGx2 | *1/*5 | *1/*5 | *1/*5 | *1/*5 | *1/*5 | *1/*5 | n/a | n/a |  | 1 | 1 | 1 |  |  | 1 | 1 |  | 1
NA17244 | PGx2 | *2/*4 xN | *2x2/*4x2 (+hybrid) | *2x2/*4x2 + hybid | *2/*4, CN_Gain | *2/*4, CN_Gain | 3N, *1/*4 | n/a | n/a |  | 4 | 5 | 4 | 5 | 4 | 4 | 5 | 5 | 4 | 4 | 5 | 4
NA17287 | PGx1 | no consensus | *1/*83 | *1/*83 | CN_HybridLoss | CN_HybridLoss | *1/*83 | *1/*83 | *83 (ASXL-PCR) Sanger (partial); *1 and *83 SMRT | *1.001 (PV00126); *83.002 (PVID00658) | [5 empty] | 2 | 2 |  | 1 | 2 |  | 1
NA17288 | PGx2 | *1/*1 | *1/*1 | n/a | *1/*1 | *1/*1 | *1/*1 | n/a | n/a
NA17290 | PGx2 | *1/*41 | *1/*41 | n/a | *1/*2,*1/*41 | 1/*41 | *1/*41 | n/a | n/a
NA17448 | PGx2 | *1/*2 | *1/*28 | *2 | *1/*2 | *1/*28 | *1/*2 | *1/*28 | *28 (ASXL-PCR) Sanger | *28.001 (PV00133) | [5 empty] | 2 | 2 |  | 2 | 2 | 2 | 2
NA17454 | PGx2 | *1/*2 xN | *1x2/*2x2 | *2x2 | *1/*2, CN_Gain | *1/*2, CN_Gain | 3N, *1/*2 dup | n/a | n/a |  | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 4
NA17641 | PGx2 | *2/*35 | *2/*35 | n/a | *2/*2 | *2/*35 | *2/*35 | n/a | n/a |  | 2 | 2 | 2
NA17642 | PGx2 | *1/*1 | *1/*1 | n/a | *1/*1 | *1/*1 | *1/*1 | n/a | n/a |  | 2 | 2 | 2
NA17657 | PGx2 | *4/*9 | *4/*9 | n/a | *4/*9 | *4/*9 | *4/*9 | n/a | n/a |  | 2 | 2 | 2
NA17658 | PGx2 | *1/*2 | *1/*2 | n/a | *1/*2 | *1/*2 | *1/*2 | n/a | n/a |  | 2 | 2 | 2
NA17660 | PGx2 | *1/*2 | *1/*2 | n/a | *1/*2 | *1/*2 | *1/*2 | n/a | n/a |  | 2 | 2 | 2
NA17673 | PGx2 | *1/*4 | *1/*4 | n/a | *1/*4 | *1/*4 | *1/*4 | n/a | n/a |  | 2 | 2 | 2
NA17679 | PGx2 | *1/*4 | *1/*4 | n/a | *1/*4 | *1/*4 | *1/*4 | n/a | n/a |  | 2 | 2 | 2
NA17702 | PGx2 | *1/*35 | *1/*35 | n/a | *1/*2 | *1/*35 | *1/*35 | n/a | n/a |  | 2 | 2 | 2
NA18484 | PGx2 | *1/*17 | *1/*17 | n/a | *1/*17 | *1/*17 | *1/*17 | n/a | n/a |  | 2 | 2 | 2
NA18509 | PGx2 | *2/*17 | *2/*17 | n/a | *2/*17 | *2/*17 | *2/*17 | n/a | n/a |  | 2 | 2 | 2
NA18518 | PGx2 | *17/*29 | *17/*29 | n/a | *17/*29 | *17/*29 | *17/*29 | n/a | n/a |  | 2 | 2 | 2
NA18519 | PGx2 | *1/*29 | *1/*29 | n/a | *1/*29 | *1/*29 | *1/*29 | n/a | n/a |  | 2 | 2 | 2
NA18524 | PGx2 | *1/*10 (*36) | *1/*36x2+*10 | *1/*36x2+*10 | n/a | n/a | 3N, *1/*36 | 3N+, *1/*10+*36 hybrid | n/a |  |  |  |  | 4 | 2 | 4 | 4 | 4 | 2
NA18526 | PGx2 | *1/(*10 [*36]) | *1/*36x2+*10 | *1/*36x2+*10 | *1/*10, CN_HybridGain | *1/*10, CN_HybridGain | 3N, *1/*36 | 3N+, *1/*10+*36 hybrid | n/a |  | 4 | 4 | 2 | 4 | 2 | 4 | 4 | 4 | 2 | 4 | 4 | 2
NA18540 | PGx2 | *10/*41 | (*36+)10/*41 | n/a | *10/*41, CN_HybridGain | *10/*41, CN_HybridGain | 3N, *36/*41 | n/a | n/a |  | 2 | 2 | 2
NA18544 | PGx2 | *10/*41 | *10/*41 | n/a | *10/*41 | *10/*41 | *10/*41 | n/a | n/a |  | 2 | 2 | 2
NA18545 | new | n/a | *5/*36x2+*10x2 | *5/*36x2+*10x2 | CN_HybridLoss | CN_HybridLoss | *10/*36 | 3N+, *10/*10+*36 hybrid | n/a |  | 4 | 4 | 2 |  |  | 4 | 4 | 4 | 2 | 4 |  | 2
NA18552 | PGx2 | *1/*14 | *1/*14 | *1/*14 | *1/*14 | *1/*14 | *1/*14 | *1/*14 | *14 (ASXL-PCR) Sanger | *14.001 (PV00138) | 2 | 2 | 2 |  |  | 2 | 2 | 2 | 2 | 2 |  | 2
NA18563 | PGx2 | *1/(*36) | *1/*36+*10 | *1/*36+*10 | n/a | n/a | 3N, *1/*36 | 3N+, *1/*10+*36 hybrid | n/a |  |  |  |  | 3 | 2 | 3 | 3 | 3 | 2 | 3 | 3 | 2
NA18564 | PGx2 | *2/(*10 [*36]) | *2/*36+*10 | *2/*36+*10 | *2/*10 | *2/*10, NC/PRA/NA | *2/*36 | 3N+, *2/*10+*36 hybrid | n/a |  | 3 | 3 | 2 | 3 | 2 | 3 | 3 | 3 | 2
NA18565 | PGx2 | *10/(*10 [*36]) | *10/*36x2 | *10/*36x2 | CN_HybridLoss | CN_HybridLoss | *10/*36 | n/a | n/a |  | 3 | 3 | 1 | 3 | 1 | 3 | 3 | 3 | 1
NA18572 | PGx2 | (*36)/*41 | *36+*10/*41 | *36+*10/*41 | n/a | n/a | 3N, *36/*41 | n/a | n/a |  |  |  |  | 3 | 2 | 3 | 3 | 3 | 2
NA18617 | PGx2 | *10/(*10 [*36]) | *36+*10/*36+*10 | *36+*10/*36+*10 | n/a | n/a | 3N, *10/*36 | 3N+, *10/*10+*36 hybrid | n/a |  |  |  |  | 4 | 2 | 4 | 4 | 4 | 2
NA18632 | new | n/a | *36x2+*10/*52 | *36+*10/*36+*10 | *10/*10, CN_HybridGain | *10/*10, CN_HybridGain | 4N, *10/*10+*36 hybrid | n/a | Sanger and NGS of assorted XL-PCR fragments | *52.002 (PVID00649) | 4 | 4 | 2 |  |  | 4 | 4 | 4 | 2
NA18642 | new | n/a | *36+*10/*1+*90 | *1x2/*36+*10 | *1/*10; CN_Gain | *1/*10; CN_Gain | 4N, *1/*10+*36 hybrid | n/a | *90 (ASXL-PCR) Sanger and Sanger and NGS of assorted XL-PCR fragments | *1.010 (PV00408); *90.001 (PVID00677) | 4 | 4 | 3 |  |  | 4 | 4 | 4 | 3
NA18855 | PGx2 | *1/*5 | *1/*5 | n/a | *1/*5 | *1/*5 | *1/*5 | n/a | n/a |  | 1 | 1 | 1
NA18861 | PGx2 | *5/*29 | *5/*29 | n/a | *5/*29 | *5/*29 | *29/*5 | n/a | n/a |  | 1 | 1 | 1
NA18868 | PGx2 | *2/*5 | *2/*5 | n/a | *2/*5 | *2/*5 | *2/*5 | n/a | n/a |  | 1 | 1 | 1
NA18873 | PGx2 | *5/*17 | *5/*17 | n/a | n/a | n/a | *17/*5 | n/a | n/a
NA18942 | PGx2 | *2/*2 | *2/*2 | *2*2 | *2/*2 | *2/*2 | *2/*2 | n/a | n/a |  | 2 | 2 | 2 |  |  | 2 | 2 |  | 2
NA18945 | PGx2 | *1/*5 | *1/*5 | *1/*5 | n/a | n/a | *1/*5 | n/a | n/a | [6 empty] | 1 | 1 |  | 1
NA18952 | PGx2 | *2/*2 | *2/*2 | *2*2 | *2/*2 | *2/*2 | *2/*2 | n/a | n/a |  | 2 | 2 | 2 |  |  | 2 | 2 |  | 2
NA18959 | PGx2 | *2/(*10 [*36]) | *2/*36+*10 | *2/*36+*10 | n/a | n/a | 3N, *2/*36 | 3N+, *2/*10+*36 hybrid | n/a |  |  |  |  | 3 | 2 | 3 | 3 | 3 | 2
NA18966 | PGx2 | *1/*2 | *1/*2 | n/a | n/a | n/a | *1/*2 | n/a | n/a
NA18973 | PGx2 | *1/*2 (*21) | *1/*21 | *1/*21 | *1/*2 | *1/*2 | *1/*21 | *1/*21 | *21 (ASXL-PCR) Sanger; NGS | *21.002 (PV00199) | 2 | 2 | 2 | 2 | 2 | 2 | 2 |  | 2
NA18980 | PGx2 | *2/(*10 [*36]) | *2/*36+*10 | *2/*36+*10 | *2/*10, CN_HybridGain | *2/*10, CN_HybridGain | *2/*36 | 3N+, *2/*10+*36 hybrid | n/a |  | 3 | 3 | 2 | 3 | 2 | 3 | 3 | 3 | 2
NA18992 | PGx2 | *1/*5 | *1/*5 | *1/*5 | *1/*5 | *1/*5 | *1/*5 | n/a | n/a |  | 1 | 1 | 1 |  |  | 1 | 1 | 1 | 1
NA19003 | PGx2 | *1/*1 | *1/*1 | n/a | *1/*1 | *1/*1 | *1/*1 | n/a | n/a |  | 2 | 2 | 2
NA19007 | PGx2 | *1/*1 | *1/*1 | n/a | *1/*1 | *1/*1 | *1/*1 | n/a | n/a
NA19035 | PGx2 | *2/*5 | *2/*5 | n/a | n/a | n/a | *2/*5 | n/a | n/a
NA19095 | PGx2 | *1/*29 | *1/*29 | n/a | *1/*29 | *1/*29 | *1/*29 | n/a | n/a |  | 2 | 2 | 2
NA19109 | PGx2 | *2/*29 xN | *2x2/*29 | *2x2/*29 | *2/*29, CN_Gain | *2/*29, CN_Gain | 3N, *2/*29 | n/a | *29 (ASXL-PCR) | *29.001 (PV00132) | 3 | 3 | 3 | 3 | 3 | 3 | 3 | 3 | 3
NA19122 | PGx2 | *2/*17 | *2/*17 | n/a | *2/*17 | *2/*17 | *2/*17 | n/a | n/a |  | 2 | 2 | 2
NA19143 | PGx2 | *2/*10 | *2 (*45)/*10 | n/a | *2/*10 | *10/*45 | *2/*10 | n/a | n/a |  | 2 | 2 | 2
NA19147 | PGx2 | *17/*29 | *17/*29 | n/a | *17/*29 | *17/*29 | *17/*29 | n/a | n/a |  | 2 | 2 | 2
NA19174 | PGx2 | (*4/*40) | *4/*40 | *4/*40 | *4/*40 | *4/*40 | *4/*40 | *4/*40 | *40 (ASXL-PCR) Sanger | *40.001 (PV00231) | 2 | 2 | 2 | 2 | 2 | 2 | 2 |  | 2
NA19176 | PGx2 | *1/*2 | *1/*2 | n/a | *1/*2 | *1/*2 | *1/*2 | n/a | n/a |  | 2 | 2 | 2
NA19178 | PGx2 | *1/*1 | *1/*1 | n/a | n/a | n/a | *1/*1 | n/a | n/a
NA19180 | new | n/a | *1/*58 | *1/*40 | *1/*40 | *1/*17 | *1/*40 | *2/*40 | *58 (ASXL-PCR) Sanger | *58.001 (PV00181) | [5 empty] | 2 | 2 |  | 2
NA19207 | PGx2 | *2/*10 xN | *2x2/*10 | *2x2/*10 | *2/*10, CN_Gain | *2/*10, CN_Gain | *2D /*10 | 3N, *2/*10 | n/a |  | 3 | 3 | 3 | 3 | 3 | 3 | 3 | 3 | 3
NA19213 | PGx2 | *1/*1 | *1/*1 | n/a | *1/*1 | *1/*1 | *1/*1 | n/a | n/a |  | 2 | 2 | 2
NA19226 | PGx2 | *2/* xN | *2/*2x2 | *2*2 | *2/*2, CN_Gain | *2/*2, CN_Gain | 3N, *2/*2 | n/a | n/a |  | 3 | 3 | 3 | 3 | 3 | 3 | 3 | 3 | 3
NA19238 | PGx2 | *1/*17 | *1/*17 | *1/*17 | n/a | n/a | *1/*17 | n/a | n/a | [6 empty] | 2 | 2 | 2 | 2
NA19239 | PGx2 | *15/*17 | *15/*17 | *15/*17 | *1/*17 | *15/*17 | *15/*17 | *15/*17 | *15 (ASXL-PCR) Sanger | *15.002 ( PV00393) | 2 | 2 | 2 |  |  | 2 | 2 | 2 | 2
NA19317 | new | n/a | *5/*5 | *5/*5 | *5/*5 | *5/*5 | *5/*5 | *5/*5 | n/a | [6 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0
NA19444 | PGx2 | *1/*1 | *1/*1 | n/a | n/a | n/a | *1/*1 | n/a | n/a
NA19700 | PGx2 | *4/*29 | *4/*29 | *4/*29 | n/a | n/a | *4/*29 | n/a | n/a | [6 empty] | 2 | 2 | 2 | 2 | 2 | 2 | 2
NA19777 | new | n/a | *1/*82 | *1/*1 | *1/*1 | *1/UNK | *1/*1 | *1/*1 | *1 and *82 (XL-PCR) Sanger | *1.001/*82.001‡ (PV00126/PV00162) | [5 empty] | [2] | 2 |  | 2 | 2 | 2 | 2
NA19785 | PGx2 | *1/*2 xN | *1/*13+*2 | *1/*13+*2 | n/a | n/a | *1/*2 | *1 /*2+*13 | *13 (ASXL-PCR) Sanger; switch to 2D6 in intron 5 | n/a |  |  |  | 3 | 3 | 2 | 3 | 3 | 3
NA19789 | PGx2 | *1/*1 | *1/*1 | *1/*1 | *1/*1 | *1/*1 | *1/*1 | n/a | n/a | [6 empty] | 2 | 2 | 2 | 2
NA19790 | new | n/a | *1/*13+*2 | *2 | *1/*2, CN_HybridGain | *1/*2, CN_HybridGain | *1/*2 | *1/*13+*2 | *13 (ASXL-PCR) Sanger; switch in intron 4 | n/a | [5 empty] | 2 | 3 | 3 | 3 | 2 |  | 3
NA19819 | PGx2 | *2/*4 xN | *2/*4x2 | *2/*4x2 | *2/*4, CN_Gain | *2/*4, CN_Gain | 3N, *2/*4 | n/a | n/a |  | 3 | 3 | 3 | 3 | 3 | 3 | 3 | 3 | 3
NA19908 | PGx2 | *1/*2 | *1/*46 | *1/*45 | *1/*2 | *1/*46,*43/*45 | *1/*46 | n/a | *46 (ASXL-PCR) Sanger; NGS | *46.003 (PVID00680) | 2 | 2 | 2 |  |  | [2] | 2 | 2 | 2 | 2 | 2 | 2
NA19917 | PGx2 | *1/*17 (*40) | *1/*40 | *1/*40 | *1/*40 | *1/*40 | *1/*40 | *1/*40 | *40 (ASXL-PCR) Sanger | *40.001 (PV00231) |  |  |  | 2 | 2 | 2 | 2 |  | 2
NA19920 | PGx2 | *1/*4 xN | *1/*4x2 | *1/*4x2 | *1/*4, CN_HybridGain | *1/*4, CN_HybridGain | 3N, *1/*4 dup | n/a | n/a |  | 3 | 3 | 3 | 3 | 3 | 3 | 3 | 3 | 3
NA20289 | new | n/a | *6/*11 | *6/*11 | *6/*11 | *6/*11 | *6/*11 | *6/*11 | *6 and *11 (ASXL-PCR) Sanger | *6.006 (PV00384); *11.001 (PV00166) | [5 empty] | 2 | 2 |  | 2 | 2 | 2 | 2
NA20296 | PGx2 | *1/*2 | *1/*2 | n/a | *1/*2 | *1/*2 | *1/*2 | n/a | n/a |  | 2 | 2 | 2
NA20509 | PGx2 | *4/*35 | *4/*35 | n/a | *2/*4 | *4/*35 | *4/*35 | n/a | n/a |  | 2 | 2 | 2
NA20803 | new | n/a | *2/*22 | *2 | *1/*2 | *2/*22 | *1/*2 | n/a | NGS |  | 2 | 2 | 2 |  |  | 2 | 2 | 2 | 2
NA20875 | new | n/a | *1/*111 | *2 | *1/*2 | *1/*2 | *1/*2 | n/a | NGS |  | 2 | 2 | 2 |  |  | 2 | 2 | 2 | 2
NA21105 | new | n/a | *3/*111 | *2/*3 | *2/*3, *1/UNK | *2/*3A,*1/UNK | *2/*3 | n/a | *111 (ASXL-PCR); NGS | *111.002 (PVID00645) | 2 | 2 | 2 |  |  | 2 | 2 | 2 | 2
NA21781 | PGx2 | *2/*4 xN | *2x2/*68+*4 | *2x2/*68+*4 | n/a | n/a | *2/*4 | *2/*68+*4 | n/a |  |  |  |  | 3 | 3 | 4 | 3 | 3 | 3
NA23090 | PGx2 | *1/(*36) | *1/*36+*10 | *1/*36+*10 | n/a | n/a | *1/*36 | 3N+, *1/*10+*36 hybrid | n/a |  |  |  |  | 3 | 2 | 3 | 3 | 3 | 2
NA23093 | PGx2 | *1/(*36) | *1/*36+*10 | *1/*36+*10 | *1/*10, CN_HybridGain | *1/*10, CN_HybridGain | *1/*36 | 3N+, *1/*10+*36 hybrid | n/a |  |  |  |  | 3 | 2 | 3 | 3 | 3 | 2
NA23246 | PGx2 | *10/*10 xN | *10x2/*36+*10 | *10x2/*36+*10 | *10/*10 CN_Gain | *10/*10 CN_Gain | 3N, *10/*36 | 3N+, *10/*10+*36 hybrid | n/a |  | 3 | 4 | 3 | 4 | 3 | 4 | [4] | 4 | 3 | 4 | 4 | 3
NA23275 | PGx2 | *1/*17 (*40) | *1/*40 | *1/*40 | *1/*40 | *1/*40 | *1/*40 | n/a | *40 (ASXL-PCR) Sanger | *40.001 (PV00231) | 2 | 2 | 2 | 2 | 2 | 2 | 2 |  | 2
NA23296 | PGx2 | *2/*4 xN | *2x2/*4 | *2x2/*4 | n/a | n/a | 3N, *2/*4 | n/a | n/a |  |  |  |  | 3 | 3 | 3 | 3 | 3 | 3
NA23297 | PGx2 | *10/*17 xN | *10x2/*17 | *10x2/*17 | n/a | n/a | 3N, *2/*10 | n/a | n/a |  |  |  |  | 3 | 3 | 3 | 3 | 3 | 3
NA23313 | PGx2 | *2/*2 xN | *2x2/*2 | *2 | *2/*2, CN_Gain | *2/*2, CN_Gain | *2/*2 | n/a | n/a |  | 3 | 3 | 3 | 3 | 3 | 3 | 3 |  | 3
NA23348 | PGx2 | *7/*35 | *7/*35 | n/a | *2/*7 | *7/*35 | *7/*35 | n/a | n/a |  | 2 | 2 | 2
NA23405 | PGx2 | *1/*7 | *1/*7 | n/a | n/a | n/a | *1/*7 | n/a | n/a
NA23872 | PGx2 | *2/*2 | *2/*2 | n/a | n/a | n/a | *2/*2 | n/a | n/a
NA23873 | PGx2 | *1/*4 | *1/*4 | n/a | *1/*4 | *1/*4 | *1/*4 | n/a | n/a |  | 2 | 2 | 2
NA23874 | PGx2 | *4/*4 | *4/*4 | n/a | *4/*4 | *4/*4 | *4/*4 | n/a | n/a |  | 2 | 2 | 2
NA23877 | PGx2 | *15/*41 | *15/*41 | *15/*41 | *1/*41 | *15/*41 | *15/*41 | *15/41 | *15 (ASXL-PCR) Sanger | *15.001 (PV00117) | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2
NA23878 | PGx2 | ?/*4 | (*4N)+*4/*39 | *1/*4N+*4 | n/a | n/a | *4/*83 | n/a | *39 (ASXL-PCR) Sanger | *39.001 (PV00225) |  |  |  | 3 | 2 | 3 | 3 | 3 | 2
NA23881 | PGx2 | *2/*41 | *2/*41 | n/a | n/a | n/a | *2/*41 | n/a | n/a
NA24008 | PGx2 | *1/*4 | *1/*4 | n/a | *1/*4 | *1/*4 | *1/*4 | n/a | n/a |  | 2 | 2 | 2
NA24009 | PGx2 | *29/*29 | *29/*29 | n/a | *29/*29 | *29/*29 | *29/*29 | n/a | n/a |  | 2 | 2 | 2
NA24027 | PGx2 | *2/*6 xN | *2x2/*6 | *2x2/*6 | n/a | n/a | *2/*6 | n/a | n/a |  |  |  |  | 3 | 3 | 3 | 3 | 3 | 3
NA24217 | PGx2 | *2/*41 xN | *2/*41x3 | *2/*41x3 | *2/*41, CN_Gain | *2/*41, CN_Gain | 3N, *2/*41 | n/a | n/a |  | 4 | 4 | 4 | 4 | 4 | [3 or 4] | 3 | 4 | 3 | 4 | 4 | 4
†New- sample not characterized in previous GeT-RM studies (PGx112 or PGx213).
Alleles tested by only one platform in this study, and alleles that were only detected unequivocally by one platform in parenthesis